


       VOICE BASED HEARTBEAT MONITORING AND ALERTING SYSTEM FOR ELDER PEOPLE 

AIM:

The main aim of this project is to monitor the Heart beat and produces voice based alerts when necessary.

BLOCK DIAGRM:

MONITORING SECTION:

Power Supply:

DESCRIPTION:

Large numbers of preventable deaths occur in hospitals each year, due to adverse events such as cardiac arrest and unplanned admission into Intensive Care Units (ICUs) from other hospital wards. The majority of these patients exhibit physiological deterioration in their vital signs prior to onset of the adverse event, which can be detected by this project.


One of the ideal ways of using technology is to sense serious health problems so that efficient medical services can be provided to the patient in correct time.
The heart beat monitoring system is a portable and best replacement of old medical equipment which is less efficient. This project consists of microcontroller, pulse rate sensor and voice i.c.by using the pulse rate sensor we need to monitor the heart beat of the patients. These values are displayed on LCD screen and if the condititions exceeded than normal values some voice announce will come through voice IC and loud speaker like the patient condition is serious. Then according to the condition treatment will goes on.

This project uses regulated 5V, 500MA power supply, 7805 three terminal voltage regulator is used for voltage regulation. Bridge type full wave rectifier is used to rectify the ac output of secondary of 230/12V step down transformer.

HARDWARE COMPONENTS:

1) Microcontroller (AT89S52)

2) LCD Display (16x2)

3) Pulse rate sensor

4) Voice IC

5) Loud speaker

SOFTWARE:

1) Kiel U vision

2) Embedded ‘C’

3) Express PCB
4) ISP
ADVANTAGES:

1) It is a portable device.

2) High efficient.

3) It is a system used to provide a voice based alert when irregular heart beat is recorded.

APPLICATIONS:

1) Medical applications

RESULT:

By this project is to monitor the Heart beat and produces voice based alerts when necessary.






Microcontroller


AT89S52





POWER SUPPLY





LCD DISPLAY


(16 X 2 LINES)





VOICE IC


(APR9600)











SPEAKER





PULSE RATE SENSOR





STEP DOWN


TRANSFORMER





BRIDGE


RECTIFIER





FILTER


CIRCUIT





REGULATOR         SECTION









